## S1_dataset_counts
Batch | Role | Full online Raman spectra | Matched spectra rows (VCD/Via/Dim) | Matched spectra rows (Glc/Gln/NH4) | Matched spectra rows (eHA positive) | Matched spectra rows (tHA positive) | Offline points (VCD/Via/Dim) | Offline points (Glc/Gln/NH4) | Positive offline points (eHA) | Positive offline points (tHA)
Batch1 | Calibration | 1573 | 110 | 110 | 40 | 40 | 22 | 22 | 8 | 8
Batch2 | Calibration | 854 | 50 | 50 | 35 | 40 | 10 | 10 | 7 | 8
Batch3 | Calibration | 1002 | 55 | 45 | 30 | 35 | 11 | 9 | 6 | 7
Batch4 | Calibration | 1433 | 85 | 0 | 35 | 40 | 17 | 0 | 7 | 8
Independent test | Independent test | 1549 | 65 | 65 | 40 | 40 | 13 | 13 | 8 | 8
Batch6 | Calibration | 996 | 65 | 50 | 30 | 40 | 13 | 10 | 6 | 8
Batch7 | Calibration | 848 | 45 | 35 | 35 | 40 | 9 | 7 | 7 | 8
Batch8 | Calibration | 844 | 45 | 45 | 40 | 40 | 9 | 9 | 8 | 8
Total | All batches | 9099 | 520 | 400 | 285 | 315 | 104 | 80 | 57 | 63

## S2_model_settings
Target | Raman window | Spectral preprocessing | Response scale | Feature representation | Model head | Hyperparameters | Process-time descriptors | Selection metric
VCD | 500-1800 cm^-1 | baseline + SG d1 + standardization | identity | full Raman PLSR | PLSR | n_components in [1, 3, 5, 8]; selected n=8 | No | CV RMSE
Glc | 500-1800 cm^-1 | baseline + SG d1 + standardization | identity | full Raman PLSR | PLSR | n_components in [1, 3, 5, 8]; selected n=3 | No | CV RMSE
Gln | 500-1800 cm^-1 | baseline + SG d1 + standardization | identity | full Raman PLSR | PLSR | n_components in [1, 3, 5, 8]; selected n=8 | No | CV RMSE
NH4 | 500-1800 cm^-1 | baseline + SG d1 + standardization | identity | full Raman PLSR | PLSR | n_components in [1, 3, 5, 8]; selected n=8 | No | CV RMSE
Via | 500-1800 cm^-1 | baseline + SG d1 + standardization | bounded logit | SelectKBest k=80 | SVR | C=10, gamma=scale, epsilon=0.05 | Yes | CV RMSE
Dim | 500-1800 cm^-1 | baseline + SG d1 + standardization | logit-range, 15.0-20.5 um | SelectKBest k=360 | SVR | C=10, gamma=scale, epsilon=0.01 | Yes | CV RMSE
eHA/tHA | 500-1800 cm^-1 | first15 delta + baseline + SG d0 + standardization | log2 dilution step | PLS latent scores | ordinal-threshold probability | firstN=15; PLS n in [6, 8, 10]; C in [0.3, 1.0, 3.0]; process weight in [0.25, 0.5, 1.0] where applicable | Route-dependent | tolerance-aware loss

## S3_plsr_parameters
Target | Raman window | Preprocessing | Response scale | PLSR components | Selection criterion
VCD | 500-1800 cm^-1 | baseline + SG d1 + standardization; median imputation in model pipeline | identity | 8 | Calibration-set 5-fold CV RMSE
Via | 500-1800 cm^-1 | baseline + SG d1 + standardization; median imputation in model pipeline | identity | 5 | Calibration-set 5-fold CV RMSE
Dim | 500-1800 cm^-1 | baseline + SG d1 + standardization; median imputation in model pipeline | identity | 8 | Calibration-set 5-fold CV RMSE
eHA | 500-1800 cm^-1 | baseline + SG d1 + standardization; median imputation in model pipeline | log2 dilution step; positive labels only | 3 | Calibration-set 5-fold CV RMSE
tHA | 500-1800 cm^-1 | baseline + SG d1 + standardization; median imputation in model pipeline | log2 dilution step; positive labels only | 8 | Calibration-set 5-fold CV RMSE
Glc | 500-1800 cm^-1 | baseline + SG d1 + standardization; median imputation in model pipeline | identity | 3 | Calibration-set 5-fold CV RMSE
Gln | 500-1800 cm^-1 | baseline + SG d1 + standardization; median imputation in model pipeline | identity | 8 | Calibration-set 5-fold CV RMSE
NH4 | 500-1800 cm^-1 | baseline + SG d1 + standardization; median imputation in model pipeline | identity | 8 | Calibration-set 5-fold CV RMSE

## S4_via_dim_ablation
Target | Step | Module | CV n | CV RMSE | CV R²
Via | V0 PLSR common baseline | Full Raman PLSR | 91 | 9.0144 | 0.8884
Via | V1 identity Raman SelectSVR | Raman SelectSVR | 91 | 7.8594 | 0.9152
Via | V2 bounded-logit Raman SelectSVR | Raman SelectSVR | 91 | 7.6152 | 0.9204
Via | V3 identity + process-time SelectSVR | Raman SelectSVR + process-time | 91 | 5.5184 | 0.9582
Via | VT bounded-logit process-time-only SelectSVR | process-time only | 91 | 6.5536 | 0.941
Via | V4 bounded-logit + process-time SelectSVR | Raman SelectSVR + process-time | 91 | 4.8125 | 0.9682
Dim | D0 PLSR common baseline | Full Raman PLSR | 91 | 0.6238 | 0.6109
Dim | D1 absolute Raman SelectSVR | Raman SelectSVR | 91 | 0.5522 | 0.695
Dim | D2 logit-range Raman SelectSVR | Raman SelectSVR | 91 | 0.5334 | 0.7155
Dim | D3 absolute + process-time SelectSVR | Raman SelectSVR + process-time | 91 | 0.4533 | 0.7945
Dim | DT logit-range process-time-only SelectSVR | process-time only | 91 | 0.7566 | 0.4275
Dim | D4 logit-range + process-time SelectSVR | Raman SelectSVR + process-time | 91 | 0.4286 | 0.8163

## S5_via_weighting
Target | Route | Weighting | CV n | CV RMSE | CV R2 | CV MAE | CV bias
Via | V4 bounded-logit + process-time SelectSVR | none | 91 | 4.8125 | 0.9682 | 3.0638 | 0.4631
Via | V5 coarse inverse-frequency weighted V4 | three broad Via strata inverse-frequency weights | 91 | 4.868 | 0.9675 | 3.1039 | 0.4628